## Background-Table of Contents
BACKGROUND INFO
This spreadsheet documents the Plan Review checklists that PLI staff use to evaluate permit applications. Please note that some checklist items are for internal reference only and can be ignored. See below for structure type and permit type, a table of contents listing checklists and applicability, and referenced code legend.
Structure Type: | Any
Permit Type: | Demolition
Date Published: | 2026-08-06
TABLE OF CONTENTS
Checklist Name | Applicability
Commercial Demolition | This applies to "commercial" structure types.
Residential Demolition | This applies to "residential" structure types.
CODE REFERENCE LEGEND
Abbreviation | Name
13 | 2013 NFPA 13
13R | 2013 NFPA 13R
14 | 2013 NFPA 14
70 | 2014 NFPA 70 / NEC
72 | 2013 NFPA 72
ASHRAE | ASHRAE 90.1-2013
IBC | 2015 International Building Code
IBC18 | 2018 International Building Code
ICC | ICC A117.1 - 2009
IEBC | 2015 International Existing Building Code
IEBC18 | 2018 International Existing Building Code
IECC | 2015 International Energy Conservation Code
IFC | 2015 International Fire Code
IFGC | 2015 International Fuel Gas Code
IHA | PA Industrialzed Housing Act Regulations
IMC | 2015 International Mechanical Code
IPMC | 2015 International Property Maintenance Code
IRC | 2015 International Residential Code
PA UCC | PA Uniform Construction Code
PCC | Pittsburgh City Code

## Commercial Demolition
Topic | Issue | Code Ref. | Sheet Ref. | Compliance | Comments
I. Initiating the Review
| DCP and/or Zoning review for proposed work scope (Complete or Partial Demolition): | PCC 922.01 |  | select one
| ZDR created and related (not required for all permits) | PLI Internal |  | select one
| Zoning review performed under related ZDR for new use | PLI Internal |  | select one
| Zoning action taken on the PLI process under the permit record | PLI Internal |  | select one
Regulation by PLI or applicable entity:
| Verify PLI regulated building, not PA Dept. of Labor and Industry, based on state owned property. | PA UCC 403.141 |  | select one
Valid address and parcel (Details tab):
| Verify property has valid address in OneStopPGH system and submitted documents identify this address. If there is no address in OneStopPGH or in Allegheny County Real Estate records, direct applicant to apply for address assignment. addressing@pittsburghpa.gov. | PCC 420.8, 420.9, IBC 501.2 |  | select one
Spatial characteristics about the application:
| Floodplain Overlay District (FEMA) | PCC 906.02 |  | select one
| Landslide prone, Undermined, and/or Steep Slopes | PCC 906.04, 906.05, 906.08 |  | select one
| Historic District | PCC 1101.05 |  | select one
Special characteristics about the application:
| Active condemnation for the structure | PLI Internal |  | select one | Use Condemnation checklist
| Active violations for the structure | PLI Internal |  | select one
| Zoning and/or Planning Variance | PLI Internal |  | select one
| PLI Board of Appeals | PLI Internal |  | select one
Application relationships:
| Sub-Permits | PLI Internal |  | select one
| Duplicates | PLI Internal |  | select one
Resources to review application:
| OnBase (existing Certificates of Occupancy) | PLI Internal |  | select one
| Hardcopy Files and/or drawing | PLI Internal |  | select one
| Google Maps, Allegheny Co. Real Estate Portal, and/or GIS | PLI Internal |  | select one
II. Submission Review - Overall
General overview of submitted materials:
| Verify application form is completed and signed. | PLI Internal |  | select one
| Drawings (sealed by PA Design Prof. for commercial) | PA UCC 403.42a(c) |  | select one
| Supporting documentation | PLI Internal |  | select one
| Demolition narrative required for all permits. Commercial demolition narratives require a PA design professiona's seal. | PLI Internal |  | select one
Review of demolition related activities:
| Verify Public Notice Placard was provided to applicant (see Application Documents/Documents/File Notes tabs) and waiting period of 15 days is complete. | PCC 1004.02.110.8, IPMC 108.4 |  | select one
| Verify Zoning has approved demolition (public hearings may be required) | PLI Internal |  | select one
| Verify if demolition is located in Floodplain and related ZDR includes floodplain review (floodplain requirements under ZDR are met) | PCC 906.02.D.4 |  | select one
| Verify documentation confirming property has been treated for pests and rodents is provided. | IPMC 302.5 |  | select one
III. Submission Review - Detailed
Review of demolition:
| Verify a site plan, sealed by a PA registered design professional, is provided that defines location of demolition and any portion of structure to remain (distance from demolition to property lines and adjacent structures) | UCC 403.42a.h |  | select one
| Verify a Narrative/report is provided that describes demolition process. Commercial narrative must be sealed by a PA registered architect or engineer. | PCC 1004.02, IPMC 110.7 |  | select one
| Narrative shall identify demolition operations: method of demolition, type of equipment to be used, and staging location of equipment. | PCC 1004.02, IPMC 110.7 |  | select one
| Narrative shall evaluate potential fall zone based on site plan to determine areas requiring protection - adjacent structures, sidewalk, street. (DPW/DOMI barricades or fencing may be acceptable) | IEBC 1501, 1502, 1503 |  | select one
| Narrative shall identify proposed protection measures for adjacent buildings, properties, pedestrians/vehicles in the public right of way based on potential fall zone of structure and relative proximity. | IEBC 1501, 1502, 1503 |  | select one
| Verify legal means of egress is maintained in partial demolition | IEBC 1505 |  | select one
| Verify that submitted documentation complies with PLI's Private Demolition Specifications (on permit application). If demolition is related to other development, inform applicant of the requirement to comply with specs, i.e. site restoration. | PCC 1004.02, IPMC 110.5 |  | select one
Special Conditions requiring analysis/report by registered design professional:
| For an attached structure, evaluate means of protecting adjacent structure to remain. | PCC 1004.02 |  | select one
| Attached Structure: Verify remaining portion of structure is provided with weather protection (including adjacent basement and party walls). Basement walls exposed in partial demolition need to be waterproofed. | IBC 1403.2, 1503, 3307.1 |  | select one
| Verify backfilled basement walls which serve as retaining walls have been properly evaluated for this structural change and will be properly waterproofed. | IBC 1610.1 |  | select one
| Verify protection during demolition is provided if subject structure is attached to adjacent structure | PCC 1004.02, IPMC 110.5, IEBC 1502 |  | select one
| Evaluate design professional's assessment of structural stability of structure to remain in partial demolition | IPMC 304, IBC 1603.1, 1604.1, 1604.2 |  | select one
| For steep slope, landslide prone, and undermined areas evaluate report to confirm that appropriate measures will be taken to ensure site stability during demolition and at completion of demolition. Mine grouting may be required in undermined areas. | PCC 906.04.B.3, IBC 3303 |  | select one
| Structures over 3 stories in height or more than 1 story taller than an adjacent structure to be evaluated with Permitting Supervisor or BCO. | PCC 1004.02, IPMC 110.5 |  | select one

## Residential Demolition
Topic | Issue | Code Ref. | Sheet Ref. | Compliance | Comments
I. Initiating the Review
| DCP and/or Zoning review for proposed work scope (Complete or Partial Demolition): | PCC 922.01 |  | select one
| ZDR created and related (not required for all permits) | PLI Internal |  | select one
| Zoning review performed under related ZDR for new use | PLI Internal |  | select one
| Zoning action taken on the PLI process under the permit record | PLI Internal |  | select one
Regulation by PLI or applicable entity:
| Verify PLI regulated building, not PA Dept. of Labor and Industry, based on state owned property. | PA UCC 403.141 |  | select one
Valid address and parcel (Details tab):
| Verify property has valid address in OneStopPGH system and submitted documents identify this address. If there is no address in OneStopPGH or in Allegheny County Real Estate records, direct applicant to apply for address assignment. addressing@pittsburghpa.gov. | PCC 420.8, 420.9, R319.1 |  | select one
Spatial characteristics about the application:
| Floodplain Overlay District (FEMA) | PCC 906.02 |  | select one
| Landslide prone, Undermined, and/or Steep Slopes | PCC 906.04, 906.05, 906.08 |  | select one
| Historic District | PCC 1101.05 |  | select one
Special characteristics about the application:
| Active condemnation for the structure | PLI Internal |  | select one | Use Condemnation checklist
| Active violations for the structure | PLI Internal |  | select one
| Zoning and/or Planning Variance | PLI Internal |  | select one
| PLI Board of Appeals | PLI Internal |  | select one
Application relationships:
| Sub-Permits | PLI Internal |  | select one
| Duplicates | PLI Internal |  | select one
Resources to review application:
| OnBase (existing Certificates of Occupancy) | PLI Internal |  | select one
| Hardcopy Files and/or drawing | PLI Internal |  | select one
| Google Maps, Allegheny Co. Real Estate Portal, and/or GIS | PLI Internal |  | select one
II. Submission Review - Overall
General overview of submitted materials:
| Verify application form is completed and signed. | PLI Internal |  | select one
| Drawings | PA UCC 403.62a |  | select one
| Supporting documentation | PLI Internal |  | select one
| Demolition narrative required for all permits. Residential narratives do not require a design professional's seal unless Special Conditions, identified in Part III, apply. | PLI Internal |  | select one
Review of demolition related activities:
| Verify Public Notice Placard was provided to applicant (see Application Documents/Documents/File Notes tabs) and waiting period of 15 days is complete. | PCC 1004.02, IPMC 110.8 |  | select one
| Verify Zoning has approved demolition (public hearings may be required) | PLI Internal |  | select one
| Verify if demolition is located in Floodplain and related ZDR includes floodplain review (floodplain requirements under ZDR are met) | PCC 906.02.D.4 |  | select one
| Verify documentation confirming property has been treated for pests and rodents is provided. | IPMC 302.5 |  | select one
Residential demolition requirements:
| If permit scope is limited to a structure accessory to a residential structure, this work can be performed under a building permit. The work can be performed by the property owner if it is their primary residence. | PCC 1004.02, IPMC 110.5 |  | select one
III. Submission Review - Detailed
Review of demolition:
| Verify a site plan is provided that defines location of demolition and any portion of structure to remain (distance from demolition to property lines and adjacent structures). Residential site plan is not required to be stamped by design professional. | UCC 403.42a.h |  | select one
| Verify a Narrative/report is provided that describes demolition process. Residential demolition does not require a sealed narrative. | PCC 1004.02, IPMC 110.7 |  | select one
| Narrative shall identify demolition operations: method of demolition, type of equipment to be used, and staging location of equipment. | PCC 1004.02, IPMC 110.7 |  | select one
| Narrative shall evaluate potential fall zone based on site plan to determine areas requiring protection - adjacent structures, sidewalk, street. (DPW/DOMI barricades or fencing may be acceptable) | PCC 1004.02, IPMC 110.7 |  | select one
| Narrative shall identify proposed protection measures for adjacent buildings, properties, pedestrians/vehicles in the public right of way based on potential fall zone of structure and relative proximity. | PCC 1004.02 |  | select one
| Verify legal means of egress is maintained in partial demolition | PCC 1004.02, IPMC 304, 305, IRC R311 |  | select one
| Verify that submitted documentation complies with PLI's Private Demolition Specifications (on permit application). If demolition is related to other development, inform applicant of the requirement to comply with specs, i.e. site restoration. | PCC 1004.02, IPMC 110.5 |  | select one
Special Conditions requiring analysis/report by registered design professional:
| For an attached structure, evaluate means of protecting adjacent structure to remain. | PCC 1004.02 |  | select one
| Attached Structure: Verify remaining portion of structure is provided with weather protection (including adjacent basement and party walls). Basement walls exposed in partial demolition need to be waterproofed. | IRC R703.1, R703.2, R903 |  | select one
| Verify backfilled basement walls which serve as retaining walls have been properly evaluated for this structural change and will be properly waterproofed. | IRC R301.1.3, R404.4 |  | select one
| Verify protection during demolition is provided if subject structure is attached to adjacent structure | PCC 1004.02, IPMC 110.5 |  | select one
| Evaluate design professional's assessment of structural stability of structure to remain in partial demolition | IPMC 304 |  | select one
| For steep slope, landslide prone, and undermined areas evaluate report to confirm that appropriate measures will be taken to ensure site stability during demolition and at completion of demolition. Mine grouting may be required in undermined areas. | PCC 906.04.B.3, IBC 3303 |  | select one
| Structures over 3 stories in height or more than 1 story taller than an adjacent structure to be evaluated with Permitting Supervisor or BCO. | PCC 1004.02 |  | select one